## Slide 1
Proteomics Informatics –
Protein identification I: searching protein sequence collections and significance testing (Week 4)

## Slide 2
Peptide Mapping - Mass Accuracy

## Slide 3
Peptide Mapping
Database Size
C. elegans
S. cerevisiae
Human

## Slide 4
Peptide Mapping
Cys-Containing
Peptides
C. elegans
S. cerevisiae
Human

## Slide 5
MS
Identification – Peptide Mass Fingerprinting
MS
Digestion
All Peptide
Masses
Pick Protein
Compare, Score, Test Significance
Repeat for each protein
Sequence
DB
Identified Proteins

## Slide 6
ProFound – Search Parameters
http://prowl.rockefeller.edu/

## Slide 7: ProFound – Protein Identification by Peptide Mapping
W. Zhang & B.T. Chait,
Analytical Chemistry
72 (2000) 2482-2489

## Slide 8
ProFound Results

## Slide 9
Peptide Mapping – Mass Accuracy

## Slide 10
Peptide Mapping - Database Size
S. cerevisiae
Fungi
All Taxa
Expectation Values
Peptide mapping example:
S. Cerevisiae 4.8e-7
Fungi 8.4e-6
All Taxa 2.9e-4

## Slide 11
Database size

## Slide 12
Missed Cleavage Sites
u = 1
u = 2
u = 4
Expectation Values
Peptide mapping example:
u=1 4.8e-7
u=2 1.1e-5
u=4 6.8e-4

## Slide 13
Peptide Mapping - Partial Modifications
No Modifications
Phophorylation (S, T, or Y)
Searched Searched With
Without Possible
Modifications Phosphorylation
of S/T/Y
DARPP-32 0.00006 0.01
CFTR 0.00002 0.005
Even if the protein is modified it is usually better to search a protein sequence database without specifying possible modifications using peptide mapping data.

## Slide 14
Peptide Mapping - Ranking by
Direct Calculation of the Significance

## Slide 15
The response to random input data should be random.
Maximum number of correct identification and minimum number of incorrect identifications for any data set.
Maximal separation between scores for correct identifications and the distribution of scores for random matching proteins for any data set.
The statistical significance of the results should be calculated.
The searches should be fast.
General Criteria for a Good Protein Identification Algorithms

## Slide 16: Response to Random Data
Normalized Frequency

## Slide 17
Peptide Fragmentation
Mass Analyzer 1
Frag-mentation
Detector
Ion Source
Mass Analyzer 2
b
y

## Slide 18
Identification – Tandem MS

## Slide 19
m/z
% Relative Abundance
100
0
250
500
750
1000
Tandem MS – Sequence Confirmation
K
L
E
D
E
E
L
F
G
S

## Slide 20
K
1166
L
1020
E
907
D
778
E
663
E
534
L
405
F
292
G
145
S
88
b ions
m/z
% Relative Abundance
100
0
250
500
750
1000
K
L
E
D
E
E
L
F
G
S
Tandem MS – Sequence Confirmation

## Slide 21
147
K
1166
L
260
1020
E
389
907
D
504
778
E
633
663
E
762
534
L
875
405
F
1022
292
G
1080
145
S
1166
88
y ions
b ions
m/z
% Relative Abundance
100
0
250
500
750
1000
K
L
E
D
E
E
L
F
G
S
Tandem MS – Sequence Confirmation

## Slide 22
147
K
1166
L
260
1020
E
389
907
D
504
778
E
633
663
E
762
534
L
875
405
F
1022
292
G
1080
145
S
1166
88
y ions
b ions
m/z
% Relative Abundance
100
0
250
500
750
1000
[M+2H]2+
762
260
389
504
633
875
292
405
534
907
1020
663
778
1080
1022
K
L
E
D
E
E
L
F
G
S
Tandem MS – Sequence Confirmation

## Slide 23
147
K
1166
L
260
1020
E
389
907
D
504
778
E
633
663
E
762
534
L
875
405
F
1022
292
G
1080
145
S
1166
88
y ions
b ions
m/z
% Relative Abundance
100
0
250
500
750
1000
[M+2H]2+
762
260
389
504
633
875
292
405
534
907
1020
663
778
1080
1022
K
L
E
D
E
E
L
F
G
S
Tandem MS – Sequence Confirmation

## Slide 24
147
K
1166
L
260
1020
E
389
907
D
504
778
E
633
663
E
762
534
L
875
405
F
1022
292
G
1080
145
S
1166
88
y ions
b ions
m/z
% Relative Abundance
100
0
250
500
750
1000
[M+2H]2+
762
260
389
504
633
875
292
405
534
907
1020
663
778
1080
1022
113
K
L
E
D
E
E
L
F
G
S
113
Tandem MS – Sequence Confirmation

## Slide 25
147
K
1166
L
260
1020
E
389
907
D
504
778
E
633
663
E
762
534
L
875
405
F
1022
292
G
1080
145
S
1166
88
y ions
b ions
m/z
% Relative Abundance
100
0
250
500
750
1000
[M+2H]2+
762
260
389
504
633
875
292
405
534
907
1020
663
778
1080
1022
129
129
K
L
E
D
E
E
L
F
G
S
Tandem MS – Sequence Confirmation

## Slide 26
K
L
E
D
E
E
L
F
G
S
147
K
1166
L
260
1020
E
389
907
D
504
778
E
633
663
E
762
534
L
875
405
F
1022
292
G
1080
145
S
1166
88
y ions
b ions
m/z
% Relative Abundance
100
0
250
500
750
1000
[M+2H]2+
762
260
389
504
633
875
292
405
534
907
1020
663
778
1080
1022
Tandem MS – Sequence Confirmation

## Slide 27
K
L
E
D
E
E
L
F
G
S
147
K
1166
L
260
1020
E
389
907
D
504
778
E
633
663
E
762
534
L
875
405
F
1022
292
G
1080
145
S
1166
88
y ions
b ions
m/z
% Relative Abundance
100
0
250
500
750
1000
[M+2H]2+
762
260
389
504
633
875
292
405
534
907
1020
663
778
1080
1022
Tandem MS – Sequence Confirmation

## Slide 28
K
L
E
D
E
E
L
F
G
S
147
K
1166
L
260
1020
E
389
907
D
504
778
E
633
663
E
762
534
L
875
405
F
1022
292
G
1080
145
S
1166
88
y ions
b ions
m/z
% Relative Abundance
100
0
250
500
750
1000
[M+2H]2+
762
260
389
504
633
875
292
405
534
907
1020
663
778
1080
1022
Tandem MS – Sequence Confirmation

## Slide 29
Tandem MS – de novo Sequencing
m/z
% Relative Abundance
100
0
250
500
750
1000
[M+2H]2+
762
260
389
504
633
875
292
405
534
907
1020
663
778
1080
1022
Mass Differences
Amino acid masses
Sequences
consistent
with spectrum

## Slide 30
Tandem MS – de novo Sequencing

## Slide 31
Tandem MS – de novo Sequencing

## Slide 32
Tandem MS – de novo Sequencing
X
X
X
X
X
X
…GF(I/L)EEDE(I/L)…
…(I/L)EDEE(I/L)FG…
…GF(I/L)EEDE(I/L)…
…(I/L)EDEE(I/L)FG…
Peptide M+H = 1166
1166 -1079 = 87 => S
SGF(I/L)EEDE(I/L)…
SGF(I/L)EEDE(I/L)…
1166 – 1020 – 18 = 128
K or Q
SGF(I/L)EEDE(I/L)(K/Q)

## Slide 33
Tandem MS – de novo Sequencing
Challenges in de novo sequencing
Neutral loss (-H2O, -NH3)
Modifications
Background peaks
Incomplete information
Challenges in de novo sequencing
Neutral loss (-H2O, -NH3)
Modifications
Background peaks
Incomplete information

## Slide 34
MS/MS
Lysis
Fractionation
Tandem MS – Database Search
MS/MS
Digestion
Sequence
DB
All Fragment
Masses
Pick Protein
Compare, Score, Test Significance
Repeat for all proteins
Pick Peptide
LC-MS
Repeat for
all peptides

## Slide 35: Algorithms

## Slide 36: Comparing and Optimizing Algorithms

## Slide 37
MS/MS - Parent Mass Error
and Enzyme Specificity
Expectation Values
MS/MS example:
Dm=2, Trypsin 2.5e-5
Dm=100, Trypsin 2.5e-5
Dm=2, non-specific 7.9e-5
Dm=100, non-specific 1.6e-4

## Slide 38
Sequest
Cross-correlation

## Slide 39: X! Tandem - Search Parameters
http://www.thegpm.org/

## Slide 40: X! Tandem - Search Parameters

## Slide 41: X! Tandem - Search Parameters

## Slide 42
sequences
sequences
spectra
Conventional,
single stage searching
Generic search engine
Test all
cleavages,
modifications,
& mutations
for all sequences

## Slide 43
Determining potential modifications
- e.g., oxidation, phosphorylation, deamidation
- calculation order 2n
- NP complete
Some hard problems in MS/MS
analysis in proteomics
Allowing for unanticipated peptide cleavages
- e.g., chymotryptic contamination in trypsin
- calculation order ~ 200 × tryptic cleavage
- “unfortunate” coefficient
Detecting point mutations
- e.g., sequence homology
- calculation order 18N
- NP complete

## Slide 44
sequences
sequences
spectra
Multi-stage searching
Tryptic
cleavage
Modifications #1
Modifications #2
Point mutation
X! Tandem

## Slide 45: Search Results

## Slide 46: Search Results

## Slide 47: Sequence Annotations

## Slide 48: Search Results

## Slide 49: Search Results

## Slide 50
Lysis
Fractionation
Digestion
LC-MS/MS
Identification – Spectrum Library Search
MS/MS
Spectrum
Library
Pick
Spectrum
Compare, Score, Test Significance
Repeat for
all spectra
Identified Proteins

## Slide 51
1. Find the best 10 spectra for a particular sequence, with the same PTMs and charge.
2. Add the spectra together and normalize the intensity values.
3. Assign a “quality” value: the median expectation value of the 10 spectra used.
4. Record the 20 most intense peaks in the averaged spectrum, it’s parent ion z, m/z, sequence, protein accessions & quality.
Steps in making an
Annotated Spectrum Library (ASL):

## Slide 52
Spectrum Library Characteristics – Peptide Length

## Slide 53
Spectrum Library Characteristics – Protein Coverage

## Slide 54
Library spectrum
Test spectrum
(5:25)
(5:25)
Results: 4 peaks selected, 1 peak missed
Identification – Spectrum Library Search

## Slide 55
Matches | Probability
1 | 0.45
2 | 0.15
3 | 0.016
4 | 0.00039
5 | 0.0000037
Apply a hypergeometric probability model:
- 25 possible m/z values;
- 5 peaks in the library spectrum; and
- 4 selected by the test spectrum.
How likely is this?
Identification – Spectrum Library Search

## Slide 56
If you have 1000 possible m/z values and 20 peaks in test and library spectrum?
1 matched: p = 0.6
5 matched: p = 0.0002
10 matched: p = 0.0000000000001
Identification – Spectrum Library Search

## Slide 57
Experimental
Mass Spectrum
Library of Assigned
Mass Spectra

M/Z

Best search result
Identification – Spectrum Library Search

## Slide 58
X! Hunter

## Slide 59
1. Use dot product to find a library spectrum that best matches a test spectrum.
2. Calculate p-value with hypergeometric distribution.
3. Use p-value to calculate expectation value, given the identification parameters.
4. If expectation value is less than the median expectation value of the library spectrum, report the median value.
X! Hunter algorithm:

## Slide 60
X! Hunter Result
Query Spectrum
Library Spectrum

## Slide 61: Significance Testing
False protein identification is caused by random matching
An objective criterion for testing the significance of protein identification results is necessary.
The significance of protein identifications can be tested once the distribution of scores for false results is known.

## Slide 62
Significance Testing - Expectation Values
The majority of sequences in a collection will give a score due to random matching.

## Slide 63
Database Search
M/Z
List of Candidates
Extrapolate
And Calculate
Expectation Values
List of Candidates With Expectation Values
Distribution of Scores
for Random and False
Identifications
Significance Testing - Expectation Values

## Slide 64
Proteomics Informatics –
Protein identification I: searching protein sequence collections and significance testing (Week 4)